- Monthly Fire Extinguisher Inspection

- Check these details during a monthly fire extinguisher inspection.

- Confirm the extinguisher is visible, unobstructed, and in its designated location.

- Verify the locking pin is intact and the tamper seal is unbroken. Examine the extinguisher for obvious physical damage, corrosion, leakage, or clogged nozzle.

- Confirm the pressure gauge or indicator is in the green range, and lift the extinguisher to ensure it is still full.

- Make sure the operating instructions on the nameplate are legible and facing outward.

- Check the last professional service date on the tag. (A licensed fire extinguisher maintenance contractor must have inspected the extinguisher within the past 12 months.)

- Initial and date the back of the tag.

Note: An A-B-C fire extinguisher can be used on all kinds of fires.

**LEAVE ALL DAMAGED AND/OR USED EXTINGUISHERS IN THE MAIN OFFICE AND SEND REPLACEMENT REQUEST TO MAINTENANCE IMMEDIATELY**

| MONTH | TYPE Example: ABC, Water | LOCATION Example: Meeting Room, Shop, Cafeteria, Office, etc. | INSPECTION DATE | SIGNATURE |
| --- | --- | --- | --- | --- |

Signature: _____________________________  Facility Location: ________________________________  Date: ________________